## Main
IMAGER POSITION CALCULATOR
Setup Field Parameters
| X1 | 5
| X2 | 5
| Y1 | 5
| Y2 | 5
| Coll | 0
| VRT | 50
Calculated Positions
| LNG | 0
| LAT | 0
| OK? | YES
Custom Positions
| LNG | 0
| LAT | 0
| OK? | N/A
Disclaimer:
THE SOFTWARE IS PROVIDED “AS IS”, WITHOUT WARRANTY OF ANY KIND, EXPRESS OR IMPLIED, INCLUDING BUT NOT LIMITED TO THE WARRANTIES OF MERCHANTABILITY, FITNESS FOR A PARTICULAR PURPOSE AND NONINFRINGEMENT. IN NO EVENT SHALL THE AUTHORS OR COPYRIGHT HOLDERS BE LIABLE FOR ANY CLAIM, DAMAGES OR OTHER LIABILITY, WHETHER IN AN ACTION OF CONTRACT, TORT OR OTHERWISE, ARISING FROM, OUT OF OR IN CONNECTION WITH THE SOFTWARE OR THE USE OR OTHER DEALINGS IN THE SOFTWARE.
OVERRIDE CALCULATED POSITIONS
HIDE JAW LABELS

## Calcs
Jaws coverted to actual positions (e.g x1 = -x1) |  |  |  |  | Detector Corners (calculated from sizes) | [6 empty] | Cos and sin of the collimator angle, used to calculate points with colli rotation
x1 | -5 |  |  |  | x | y | [5 empty] | cosT | 1 | sinT | 0
x2 | 5 |  |  |  | -20 | -15
y1 | -5 |  |  |  | 20 | -15 | [5 empty] | Magnification factor calculated from VRT position
y2 | 5 |  |  |  | 20 | 15 | [5 empty] | Magnif | 1.5
[5 empty] | -20 | 15
Jaw coordinates (no colli rotation) |  |  |  |  | -20 | -15
x | y
-5 | -5
5 | -5
5 | 5 |  | Detector corners with offsets |  | Detector corners with optimal offset |  |  |  | Detector corners to display
-5 | 5 |  | x | y | x | y |  |  | x | y | [6 empty] | text offset dist | 3 | cm
-5 | -5 |  | -20 | -15 | -20 | -15 |  |  | -20 | -15 | Calculate offsets for rendering text
|  |  | 20 | -15 | 20 | -15 |  |  | 20 | -15 |  | dx | dy | length | dxnrom | dynorm | x | y | label
Field corners projected to detector surface |  |  | 20 | 15 | 20 | 15 |  |  | 20 | 15 | Y2 | 0 | 15 | 15 | 0 | 1 | 0 | 10.5 | Y2
x | y |  | -20 | 15 | -20 | 15 |  |  | -20 | 15 | Y1 | 0 | -15 | 15 | 0 | -1 | 0 | -10.5 | Y1
-7.5 | -7.5 |  | -20 | -15 | -20 | -15 |  |  | -20 | -15 | X2 | 15 | 0 | 15 | 1 | 0 | 10.5 | 0 | X2
7.5 | -7.5 | [9 empty] | X1 | -15 | 0 | 15 | -1 | 0 | -10.5 | 0 | X1
7.5 | 7.5 |  |  |  | Detector corners with user offset
-7.5 | 7.5 |  |  |  | x | y
-7.5 | -7.5 |  |  |  | -20 | -15
[5 empty] | 20 | -15
Field corners projected to detector surface with colli rotation |  |  |  |  | 20 | 15
| x | y |  |  | -20 | 15
A | -7.5 | -7.5 |  |  | -20 | -15
B | 7.5 | -7.5
C | 7.5 | 7.5
D | -7.5 | 7.5 |  |  |  |  | dx(X1,X2)¦Y2 | dy(X1,X2)¦Y2
| -7.5 | -7.5 |  |  |  |  | 15 | 0
[7 empty] | dx(X1,X2)¦Y1 | dy(X1,X2)¦Y1
Get maximum and min X and Y positions of radiation field | [6 empty] | 15 | 0
MIN Y | -7.5 | [5 empty] | dx(Y1,Y2)¦X1 | dy(Y1,Y2)¦X1
MAX Y | 7.5 | [5 empty] | 0 | 15
MIN X | -7.5 | [5 empty] | dx(Y1,Y2)¦X2 | dy(Y1,Y2)¦X2
MAX X | 7.5 | [5 empty] | 0 | 15
Get ranges of available detector offsets. Takes into account max/min lng/lat positons
LNG | 6.5 | -6.5
LAT | 11.5 | -11.5
Calculate suggested offset. If it fits (if allowable offset ranges straddle 0) it will suggest a 0 cm offset, otherwise use the minimum required offset
offset
LNG | 0
LAT | 0
Fits with suggested offset? (1 or 0) = (true or false) |  |  | New suggested offset: This just centres the EPID to the jaw positions if it doesn't fit.
LNG | 1 |  | 0
LAT | 1 |  | 0
Offset to display: If the user forces a user-entered offset then it will use that, otherwise use the calculated one
LNG | 0 | 0
LAT | 0 | 0
Does user defined offsets fit? Use these to warn user if it does not fit
LNG | 1
LAT | 1
𝑥^′=𝑥𝑐𝑜𝑠𝜃_𝑐𝑜𝑙𝑙−𝑦𝑠𝑖𝑛𝜃_𝑐𝑜𝑙𝑙
𝑦^′=𝑥𝑠𝑖𝑛𝜃_𝑐𝑜𝑙𝑙+𝑦𝑐𝑜𝑠𝜃_𝑐𝑜𝑙𝑙

## Settings
Spreadsheet written by Andrew McGrath 2017 [andrew.n.mcgrath@gmail.com]
Detector sizes |  |  | Margin to aim for -> will try to suggest an offset that maintains at minimum this margin
X (cm) | Y (cm) |  | LAT (cm) | LNG (cm)
40 | 30 |  | 1 | 1
Detector LIMITS
| MIN | MAX
VRT | -82 | 2.5
LAT | -16 | 16
LNG | -20 | 24
Whether to hide Jaw labels on plot. This is linked to checkbox on Main sheet
FALSE
User forces display of entered offsets? This cell is linked to the checkbox in Sheet1
FALSE
Disclaimer:

## Version History
V1.0: 14/12/2017
V1.1: 09/02/2018
Added a margin to detector edges. The spreadsheet will attempt to keep at minimum this margin between the radiation field edge and the detector edges.
Added a settings page & cleaned up the calc page